# Permit to Dig Guidance

The University of Reading operates a Permit to dig system to protect staff, underground services, business continuity and the environment.

If you are planning any works that require ground penetration on any University of Reading site then advice should be sought from the University project manager or event organiser. Those works which involve ground penetration or excavation in excess of 150mm will require a permit to dig

## Applying for a permit

Any ground penetration or excavation that exceeds 150mm will require a permit to dig.

Applications for a “Permit to dig” can be via the form at the end of this guidance note which must be sent to estates@reading.ac.uk

See the Maintenance web page for other policies, procedures, guidance, and specifications

Applications can be made by project managers, contractors undertaking works on behalf of the University of Reading, and event organisers.

## Notification requirement

Except in the case of emergency works there is a minimum of five working days required to process the permit. More notice is required on complex or sensitive works.

Documents required with submission of Permit to Dig application must include;

- Permit to dig application form including a description of proposed works

- Site location marked on a plan or photograph

- Method Statement including size and depth of excavation and how the works will be carried out. Should the excavation be within soft landscaping, include how you will minimise damage e.g. using ground protection and how the area will be reinstated (see the Estates Soft Landscape Specification)

- Where applicable, the method for removing excess water from excavations to avoid contamination of areas such as Whiteknights Lake and the River Thames at Greenlands

- A risk assessment for the proposed works

- Wren number and Maintenance/project manager’s contact details

All documentation should be sent to the link on the Permit to Dig application form

Applications will be acknowledged/confirmed on receipt

## Permit collection

The nominated person will be notified when the permit is ready for collection from the Maintenance Services office in the Estates building W050.

Signing of the permit on collection will be acceptance of all restrictions and instructions.

All site restrictions indicated on the permit must be followed.

A copy of the permit must be kept on site at the location of the works being undertaken at all times during works relating to the permit.

## Permit extensions

Valid reason for extension can be granted within a reasonable time frame of the existing permit, these must be made in writing quoting the permit number.

## Cost of permit application

There is a charge against the submitted Wren on application, to cover the collating of information, CAT scan, drawing/record search and approval from Grounds Department.

Further charges will occur where an “Approved Person is required to be on site during the duration of any excavations” relating to High Voltage cable proximity.

## Permit closure

All permits must be closed on completion, signed, and returned to the Maintenance Services office in the Estates building W050.

Please contact the Maintenance Services office via estates@reading.ac.uk or 0118 378 7000 for further advice if required.

# PERMIT TO DIG APPLICATION FORM

Applicant				Click here to enter text.

Email					Click here to enter text.

Site					Choose an item.

*other site	details	Click here to enter text.

Building				Click here to enter text.

Work Description		Click here to enter text.

Site Contact			Click here to enter text.

Contacts Tel No			Click here to enter text.

Wren No				Click here to enter text.

Project Manager			Click here to enter text.

Preferred start date		Click here to enter a date.

Expected completion date	Click here to enter a date.

Site rules				Click here to view site rules

I have viewed and accept the site rules	☐ Yes

☐ No

Other supporting information required

- Site plan			☐ Attached

- Risk Assessment		☐ Attached

- Method Statement	☐ Attached

Send a copy of this form and attachments to estates@reading.ac.uk